**QUICK CONNECT FOR SIDEWINDER EXM2 (7150)**

**Product Specification**

Quick Connect shall be compatible with the 7100 Sidewinder EXM2 providing a reliable means to remove the monitor from plumbing without the use of any tools; shall incorporate a safety mechanism that prevents removal of the monitor when in a pressurized state.